## Eye-tracking details
Technical details eye-tracking setup - Example
Lab name | weltentdecker-zurich
Eye-tracking system | Eyelink1000Plus
Screen resolution in pixels
Width | 800
Height | 600
Screen dimensions in mm
Width | 337
Height | 270
Distance at which the infant was seated from the screen in mm
distance | 600
Samplerate of the eye-tracker in Hz
samplerate | 500
Variable names
Please specify the names of the variables in the raw eye-tracking data file that refer to the:
Participant ID | RECORDING_SESSION_LABEL
Stimuli | videofile
Trial | TRIAL_INDEX
AOI information
Please specify where the stimulus video was located on the screen, see figure
left offset in pixels | 40
right offset in pixels | 40
top offset in pixels | 12
bottom offset in pixels | 13
Was the stimulus video presented as described in this document:
https://docs.google.com/spreadsheets/d/1iu16TyhN314nUV3a5oGx4oHPnXf39-rzmQa4Psj7pD0/
Yes

## Example
Technical details eye-tracking setup - Example
Lab name | Amsterdam Babylab
Eye-tracking system | Eyelink
Screen resolution in pixels
Width | 1280
Height | 1024
Screen dimensions in mm
Width | 330
Height | 280
Distance at which the infant was seated from the screen in mm
distance | 600
Samplerate of the eye-tracker in Hz
samplerate | 500
Variable names
Please specify the names of the variables in the raw eye-tracking data file that refer to the:
Participant ID | ParticipantName
Stimuli | MediaName
Trial | TRIAL_INDEX
AOI information
Please specify where the stimulus video was located on the screen, see figure
left offset in pixels | 200
right offset in pixels | 200
top offset in pixels | 160
bottom offset in pixels | 160
Was the stimulus video presented as described in this document:
https://docs.google.com/spreadsheets/d/1iu16TyhN314nUV3a5oGx4oHPnXf39-rzmQa4Psj7pD0/
No