## Eye-tracking details
Technical details eye-tracking setup - Example
Lab name | koku-hamburg
Eye-tracking system | Tobii Pro X3-120
Screen resolution in pixels
Width | 1920
Height | 1200
Screen dimensions in mm
Width | 518
Height | 325
Distance at which the infant was seated from the screen in mm
distance | 620
Samplerate of the eye-tracker in Hz
samplerate | 120
Variable names
Please specify the names of the variables in the raw eye-tracking data file that refer to the:
Participant ID | RecordingName
Stimuli | MediaName
Trial | PresentationSequence |  | Order
AOI information
Please specify where the stimulus video was located on the screen, see figure
left offset in pixels | 240
right offset in pixels | 240
top offset in pixels | 0 |  | but video had a black bar of 25px on the bottom and 25px on the top
bottom offset in pixels | 0
Was the stimulus video presented as described in this document:
https://docs.google.com/spreadsheets/d/1iu16TyhN314nUV3a5oGx4oHPnXf39-rzmQa4Psj7pD0/
| yes | AOIs seem a little bit longer, but only a few pixels (ca 25px) - maybe because of the bar

## Example
Technical details eye-tracking setup - Example
Lab name | Amsterdam Babylab
Eye-tracking system | Eyelink
Screen resolution in pixels
Width | 1280
Height | 1024
Screen dimensions in mm
Width | 330
Height | 280
Distance at which the infant was seated from the screen in mm
distance | 600
Samplerate of the eye-tracker in Hz
samplerate | 500
Variable names
Please specify the names of the variables in the raw eye-tracking data file that refer to the:
Participant ID | ParticipantName
Stimuli | MediaName
Trial | TRIAL_INDEX
AOI information
Please specify where the stimulus video was located on the screen, see figure
left offset in pixels | 200
right offset in pixels | 200
top offset in pixels | 160
bottom offset in pixels | 160
Was the stimulus video presented as described in this document:
https://docs.google.com/spreadsheets/d/1iu16TyhN314nUV3a5oGx4oHPnXf39-rzmQa4Psj7pD0/
No