## Eye-tracking details
Technical details eye-tracking setup - Example
Lab name | koku-hamburg
Eye-tracking system | Tobii Pro X3-120
Screen resolution in pixels
Width | 1920
Height | 1200
Screen dimensions in mm
Width | 518
Height | 325
Distance at which the infant was seated from the screen in mm
distance | 620
Samplerate of the eye-tracker in Hz
samplerate | 120
Variable names
Please specify the names of the variables in the raw eye-tracking data file that refer to the:
Participant ID | RecordingName |  |  | video size: | 1920x1080 | including black bars on the left (220px) and right (220px)
Stimuli | MediaName |  |  |  |  | correct AOIs
Trial | PresentationSequence |  | Order |  |  |  | Face AOI
[7 empty] | X1 | 715
AOI information | [6 empty] | X2
Please specify where the stimulus video was located on the screen, see figure | [6 empty] | Y1 | 129
Y2
left offset in pixels | 0 | [5 empty] | Width | 493
right offset in pixels | 0 | [5 empty] | Height | 660
top offset in pixels | 60
bottom offset in pixels | 60 | [5 empty] | Left Object AOI
[7 empty] | X1 | 300
Was the stimulus video presented as described in this document: | [6 empty] | X2
https://docs.google.com/spreadsheets/d/1iu16TyhN314nUV3a5oGx4oHPnXf39-rzmQa4Psj7pD0/ | [6 empty] | Y1 | 593
| no | AOIs seems to big |  |  |  |  | Y2
[7 empty] | Width | 395
[7 empty] | Height | 470
Right Object AOI
[7 empty] | X1 | 1229
X2
[7 empty] | Y1 | 593
Y2
[7 empty] | Width | 395
[7 empty] | Height | 470

## Example
Technical details eye-tracking setup - Example
Lab name | Amsterdam Babylab
Eye-tracking system | Eyelink
Screen resolution in pixels
Width | 1280
Height | 1024
Screen dimensions in mm
Width | 330
Height | 280
Distance at which the infant was seated from the screen in mm
distance | 600
Samplerate of the eye-tracker in Hz
samplerate | 500
Variable names
Please specify the names of the variables in the raw eye-tracking data file that refer to the:
Participant ID | ParticipantName
Stimuli | MediaName
Trial | TRIAL_INDEX
AOI information
Please specify where the stimulus video was located on the screen, see figure
left offset in pixels | 200
right offset in pixels | 200
top offset in pixels | 160
bottom offset in pixels | 160
Was the stimulus video presented as described in this document:
https://docs.google.com/spreadsheets/d/1iu16TyhN314nUV3a5oGx4oHPnXf39-rzmQa4Psj7pD0/
No